## ACT (hidden)
■ ACTUATOR (1/2) | [5 empty] | ■ ACTUATOR (2/2) | [6 empty] | ■ HANDLE
시리즈 | 입력값 | 출력값 |  |  |  | 시리즈 | 입력값 |  | 출력값 |  |  |  | 입력값 | 출력값
| Act Size | Model No. | Painting Color | Painting Type | Actuator Type (2) |  | Act Series | Action Type | Fail Position | CLOSE AT | OPEN AT | Actuator Type (1) | H.W | Type / Location | Painting Color (RAL No.) | Painting Type
A 시리즈 [PROVAL] | A-220M | A-220M |  |  | Diaphragm | A 시리즈 [PROVAL] | A시리즈 | RA (Close) | Close | 1.4 | 2.8 | Single Acting | - | - | - | -
| A-270M | A-270M | RAL 5019 | Polyurethane | Diaphragm |  | A시리즈 | DA (Open) | Open | 1.4 | 0.7 | Single Acting | Screwed | Screwed | RAL 9011 | Polyurethane
| A-360M | A-360M | RAL 5019 | Polyurethane | Diaphragm |  | A시리즈 | Double |  |  |  | Double Acting | Screwed / Top | Screwed / Top | RAL 9011 | Polyurethane
| A-430M | A-430M | RAL 5019 | Polyurethane | Diaphragm |  | A시리즈 | SPECIAL |  |  |  |  | Screwed / Side | Screwed / Side | RAL 9011 | Polyurethane
| A-520M | A-520M | RAL 5019 | Polyurethane | Diaphragm | B시리즈 | B시리즈 | RA (Close) | Close | 2 | 3.5 | Single Acting | Worm-Gear-Top | Worm-Gear / Top | RAL 9011 | Polyurethane
B시리즈 | B1 | B1S | RAL 9011 | PX8576(S) -BLACK(AB-1) | Cylinder |  | B시리즈 | DA (Open) | Open | 3.5 | 2 | Single Acting | Worm-Gear-Side | Worm-Gear / Side | RAL 9011 | Polyurethane
| B2 | B2S | RAL 9011 | Polyurethane | Cylinder |  | B시리즈 | Double | Last | 4 | 4 | Double Acting | Declutchable | Declutchable | RAL 9011 | Polyurethane
| B3 | B3S | RAL 5019 | Polyurethane | Cylinder |  | B시리즈 | SPECIAL |  |  |  |  | SPECIAL
| B4 | B4S | RAL 5019 | Polyurethane | Cylinder | C시리즈 | C시리즈 | RA (Close) | Close | 2.5 | 3.5 | Single Acting
| B5 | B5S | RAL 5019 | Polyurethane | Cylinder |  | C시리즈 | DA (Open) | Open | 3.5 | 2.5 | Single Acting
| B6 | B6S | RAL 5019 | Polyurethane | Cylinder |  | C시리즈 | Double | Last | 4 | 4 | Double Acting
C시리즈 | C-160 | C-160 | RAL 5019 | Polyurethane | Cylinder |  | C시리즈 | SPECIAL
| C-200 | C-200 | RAL 5019 | Polyurethane | Cylinder | DB시리즈 | DB시리즈 | RA (Close) | Close | 1.2 | 2.4 | Single Acting
| C-250 | C-250 | RAL 5019 | Polyurethane | Cylinder |  | DB시리즈 | DA (Open) | Open | 2 | 1.2 | Single Acting
| C-300 | C-300S | RAL 5019 | Polyurethane | Cylinder |  | DB시리즈 | Double |  |  |  | Double Acting
| C-350 | C-350S | RAL 5019 | Polyurethane | Cylinder |  | DB시리즈 | SPECIAL
| C-400 | C-400S |  |  | Cylinder | CB시리즈 | CB시리즈 | RA (Close) | Close |  |  | Single Acting
| C-450 | C-450S |  |  | Cylinder |  | CB시리즈 | DA (Open) | Open | 3.5 | 2 | Single Acting
| C-500 | C-500S |  |  | Cylinder |  | CB시리즈 | Double |  |  |  | Double Acting
DB시리즈 | DB-270 | DB-270 | RAL 5019 | Polyurethane | Diaphragm |  | CB시리즈 | SPECIAL
| DB-360 | DB-360 | RAL 5019 | Polyurethane | Diaphragm | Float | Float | RA (Close) | Close | Low Level | High Level | Levered
| DB-430 | DB-430 | RAL 5019 | Polyurethane | Diaphragm |  | Float | DA (Open) | Open | High Level | Low Level | Levered
| DB-520 | DB-520 |  |  | Diaphragm |  | Float | Double |  |  |  | Levered
CB시리즈 | CB-270 | CB-270 |  |  | Cylinder |  | Float | SPECIAL
| CB-360 | CB-360 | RAL 5019 | Polyurethane | Cylinder | (HKC)HP시리즈 | (HKC)HP시리즈 | RA (Close) | Close | 2.5 | 3.5 | Single Acting
| CB-430 | CB-430 |  |  | Cylinder |  | (HKC)HP시리즈 | DA (Open) | Open | 3.5 | 2 | Single Acting
| CB-520 | CB-520 |  |  | Cylinder |  | (HKC)HP시리즈 | Double | Close / Last |  |  | Double Acting
Float | 25A용 | YAF | - | - | Float |  | (HKC)HP시리즈 | SPECIAL
| 40-50A용 | YAF | - | - | Float | (성원)PM시리즈 | (성원)PM시리즈 | RA (Close) | Close | 2 | 3.5 | Single Acting
(HKC)HP시리즈 | HP-88 (B1) | B1S | RAL 9011 | PX8576(S) -BLACK(AB-1) | Cylinder |  | (성원)PM시리즈 | DA (Open) | Open | 3.5 | 2 | Single Acting
| HP-100 (B2) | B2SR | RAL 9011 | PX8576(S) -BLACK(AB-1) | Cylinder |  | (성원)PM시리즈 | Double |  |  |  | Double Acting
| HP-125 (B4) | B4SR | RAL 9011 | PX8576(S) -BLACK(AB-1) | Cylinder |  | (성원)PM시리즈 | SPECIAL
| HP-66 (B0) | B0SR |  |  | Cylinder | R시리즈 | R시리즈 | RA (Close) | Close | 2 | 3.5 | Single Acting
| HP-115(B3) | B3SR |  |  | Cylinder |  | R시리즈 | DA (Open) | Open | 3.5 | 2 | Single Acting
| HP-145 (B6) | B6SR | RAL 9011 | PX8576(S) -BLACK(AB-1) | Cylinder |  | R시리즈 | Double | Last | 4 | 4 | Double Acting
| HP-160 | HP-160 |  |  | Cylinder |  | R시리즈 | SPECIAL
| HP-200 | HP-200 |  |  | Cylinder | C V/T시리즈 | C V/T시리즈 | RA (Close) | Close |  |  | Single Acting
(성원)PM시리즈 | PM-S065 (B1) | B1SR | RAL 5019 | Polyurethane | Cylinder |  | C V/T시리즈 | DA (Open) | Open |  |  | Single Acting
| PM-S080 (B2) | B2SR | RAL 5019 | Polyurethane | Cylinder |  | C V/T시리즈 | Double |  |  |  | Double Acting
| PM-S100 (B3) | B3SR | RAL 5019 | Polyurethane | Cylinder |  | C V/T시리즈 | SPECIAL
| PM-S125 (B4) | B4SR | RAL 5019 | Polyurethane | Cylinder | R V/T시리즈 | R V/T시리즈 | RA (Close) | Close | 2 | 3.5 | Single Acting
| PM-S140 (B5) | B5SR |  |  | Cylinder |  | R V/T시리즈 | DA (Open) | Open |  |  | Single Acting
| PM-S160 (B6) | B6SR | RAL 5019 | Polyurethane | Cylinder |  | R V/T시리즈 | Double |  |  |  | Double Acting
R시리즈 | R6 | R6S | RAL 5019 | Polyurethane | Cylinder |  | R V/T시리즈 | SPECIAL
| R7 | Scoth-York / R7SD | RAL 5019 | Polyurethane | Cylinder | SPECIAL | SPECIAL | RA (Close) | Close
| R8 | R8SR |  |  | Cylinder |  | SPECIAL | DA (Open) | Open
| R9 | R9SR |  |  | Cylinder |  | SPECIAL | Double
| R10 | R10 |  |  | Cylinder |  | SPECIAL | SPECIAL
| R11 | R11 |  |  | Cylinder
| R12 | R12SD | RAL 5019 | Polyurethane | Cylinder
| R13 | R13 |  |  | Cylinder
| R14 | R14 |  |  | Cylinder
| R15 | R15 |  |  | Cylinder
C V/T시리즈 | C-160 + V/T | C-160 + V/T |  |  | Cylinder
| C-200 + V/T | C-200 + V/T |  |  | Cylinder
| C-250 + V/T | C-250 + V/T |  |  | Cylinder
| C-300 + V/T | C-300 + V/T |  |  | Cylinder
| C-350 + V/T | C-350 + V/T |  |  | Cylinder
| C-400 + V/T | C-400 + V/T |  |  | Cylinder
| C-450 + V/T | C-450 + V/T |  |  | Cylinder
| C-500 + V/T | C-500 + V/T |  |  | Cylinder
R V/T시리즈 | R6 + V/T | R6 + V/T |  |  | Cylinder
| R7 + V/T | R7S + V/T | RAL 5019 | Polyurethane | Cylinder
| R8 + V/T | R8 + V/T |  |  | Cylinder
| R9 + V/T | R9 + V/T |  |  | Cylinder
| R10 + V/T | R10 + V/T |  |  | Cylinder
| R11 + V/T | R11 + V/T |  |  | Cylinder
| R12 + V/T | R12 + V/T |  |  | Cylinder
| R13 + V/T | R13 + V/T |  |  | Cylinder
| R14 + V/T | R14 + V/T |  |  | Cylinder
| R15 + V/T | R15 + V/T |  |  | Cylinder
SPECIAL | SPECIAL

## ACC (hidden)
■ POSITIONER | [7 empty] | ■ AIR-SET |  |  |  | ■ SOLENOID VALVE | [5 empty] | ■ LIMIT SWITCH | [5 empty] | ■ LOCKUP VALVE |  |  | ■ SNAP-ACTING RELAY |  |  | ■ AIR OPERATED VALVE |  | ■ VOLUME BOOSTER
입력값 | 출력값 (POSITIONER) |  |  |  |  | 출력값 (TRANSMITTER) |  | 입력값 | 출력값 |  |  | 입력값 | 출력값 |  |  |  |  | 입력값 | 출력값 |  |  |  |  | 입력값 | 출력값 |  | 입력값 | 출력값 |  | 입력값 | 출력값 | 입력값 | 출력값
Positioner | Input Signal (mA DC) | Type | Enclosure | Model No. | MFG. | Output (mA DC) | Type | Air-set | Supply Setting Pressure (bar G) | Model No. | MFG. | Solenoid Valve | Power | Type | Enclosure | Model No. | MFG. | Limit Switch | Quantity | Type | Enclosure | Model No. | MFG. | Lockup valve | Setting Pressure (bar G) | Model No. | SNAP-ACTING RELAY | Setting Pressure (bar G) | Model No. | Air Operated Valve | Model No. | Volume booster | Model No.
AVP300-HSD3D-XXXX-X | 4 ~ 20 | Smart | ExdIICT6 | AVP-300 | Azbil | - | - | AR-1501NS0(TS300) | 4 | AR-1501 | Proval | 4F310-08-TP-X-DC24V | DC24V | 5-Way | IP-66 | 4F310E-08 | CKD | APL-210N | Close/Open | SPDT | IP-66 | APL-210N | HKC | LV-2000DNS(TS200) | - | LV-2000D | SAR25D(TS250) | 1.4 | SAR25D | SFP4313 | SFP4313 | VB-1000NS(TS100) | VB-1000
AVP302-HSD3D-XXXX-X | 4 ~ 20 | Smart-Hart | ExdIICT6 | AVP-302 | Azbil | - | - | AR-1501PS0(TS300) | 3.6 | AR-1501 | Proval | 4F310-10-B-DC24V | DC24V | 3-Way | IP-66 | 4F310-10-B | CKD | APL-312N | Close/Open | 4SPDT | IP-66 | APL-312N | HKC | LV-2000SNS(TS200) |  | LV-2000S |  |  |  | SFP6313 | SFP6313 | VB-1000PS(TS100) | VB-1000
EP-6000LN12S0(TS600) | 4 ~ 20 | Conventional | IP-66 | EP-6000 | Proval | - | - | AR-2501NS0(TS310) |  | AR-2501 | Proval | 4F310E-08-TP-X-AC110V | AC110V | 5-Way | ExdIIBT4 | 4F310E-08 | CKD | APL-314N | Close/Open | DPDT | IP-66 | APL-314N | HKC | LV-2000SPS(TS200) | 2 | LV-2000S |  |  |  | SV-210M | SV-210M | YT-320P-1 | YT-320P-1
EP-6100RN11S0 |  | Conventional | NEMA 4 | EP-6100 | Proval |  |  | AW30-03-A |  | AW30-03-A |  | 4F310E-08-TP-X-DC24V | DC24V | 4-Way | IP-66 | 4F310-08 | CKD | APL-510N |  |  |  | APL-510N | HKC | [6 empty] | SV-310M | 3-Way
IP8100-031-CH-X114 | 4 ~ 20 | Conventional | ExdIIBT5 | IP-8100 | SM | - | - | B7019-2C-M |  | B7019-2C-M |  | ESV-S-A110P-F | AC110V | 5/2-Way | EXdIICT6 | ESV-S | PG | APL-512N | Close/Open | 4SPDT | ExdIICT6 | APL-512N | HKC | [6 empty] | SV-410M | SV-410M
SP-8000N11S10(TS800) | 4 ~ 20 | Smart | IP-66 | SP-8000 | Proval | 4 ~ 20 | 2-Wire | TS300PS0 | 5 | TS300 | TSC | ESV-S-A220P-F | AC220V | 5/2-Way | EXdIICT6 | ESV-S | PG | GLAA20A2A | Close/Open | DPDT | IP-66 | GLAA20A2A | Honeywell
SP-8000N11S30(TS800) | 4 ~ 20 | Smart-Hart | IP-66 | SP-8000 | Proval | 4 ~ 20 | 2-Wire | YT-200BN020 | 3.6 | YT-200-2 (고온용) | Rotork | ESV-S-D24P-F | DC24V | 5/2-Way | ExdIICT6 | ESV-S | PG | SLP5130-AL | Close/Open | SPDT | ExdIICT6 | SLP5130-AL | Qlight
SP-8100N11S30(TS800) | 4 ~ 20 | Smart-Hart | IP-66 | SP-8100 | Proval | 4 ~ 20 | 2-Wire | YT-200BP010 | 3.6 | YT-200 | Rotork | HKW5020B | [5 empty] | SZL-WLC-B | 1*Close | SPDT | IP-66 | SZL-WLC-B | Honeywell
TS600LB12S0 | 4 ~ 20 | Conventional | ExdIIBT5 | TS600L | TSC | - | - | YT-200BP020 |  | YT-200-H |  | HKW5020S | [5 empty] | TS400M1S1 | Close/Open | SPDT | IP-66 | TS-400 | TSC
TS600LC12S0 | 4 ~ 20 | Conventional | ExdIICT5 | TS600LC | TSC | - | - | YT-220BN010 |  | YT-220 |  | HPW2510B | [5 empty] | TS410MK1S1 | Close/Open | SPDT | ExdIICT5/T6 | TS-410 | TSC
TS600LN12S1 |  | Conventional | IP-66 | TS600L | TSC | [6 empty] | HPW2510SB
TS600RB11S0 | 4 ~ 20 | Conventional | ExdIIBT5 | TS600R | TSC | - | - |  |  |  |  | HPW3212B
TS600RN11S1 | 4 ~ 20 | Conventional | IP-66 | TS600RN | TSC | 4 ~ 20 | 2-Wire |  |  |  |  | JKB8320G174MO | AC220V | 3-Way, H-Class, Junction Box, Manual Operator | IP-66 | JKB8320G174MO | ASCO
TS600RC11S0 |  |  |  | TS600R-C | TSC | [6 empty] | JKH8320G174M0 | DC24V / 2Set | 3-Way, H-Class | IP-66 | JKH8320G174MO | ASCO
TS700LSN11S10 |  | Smart, Fail Freeze | IP-66 | TS700L | TSC | [6 empty] | MOOU-8AE-12PU-AC110V | AC110V | 3-Way | ExdIIBT4 | MOOU-8AE-12PU | KANEKO
TS800RA11S10 | 4 ~ 20 | Smart | Exia II CT6 | TS800RA | TSC | 4 ~ 20 | 15~30V DC / 2-Wire |  |  |  |  | MOOU-8AE-12PU-AC220V |  |  |  | MOOU-8AE-12PU | KANEKO
TS820RA11S01 |  | Smart, Remote, 5m | ExiaIICT5/T6 | TS820R | TSC | [6 empty] | MOOU-8DE-12PU-DC24V | DC24V | 3-Way | ExdIIBT4 | MOOU-8DE-12PU | KANEKO
TS900LC31S10 | 4 ~ 20 | Smart | ExdIICT6 | TS900L | TSC | - | - |  |  |  |  | RDS5120-1DZ-03 | AC110V | 5-Way | IP-66 | RDS5120-03 | TPC
TS900LC31S20 |  |  |  | TS900L | TSC | [6 empty] | SV-210-1D | AC110V | 3-Way, 램프형 | IP-66 | SV-210D | SYC
TS900LC31S30 |  |  |  | TS900L | TSC | [6 empty] | SV-210-1D-LAMP |  |  |  | SV-210D | SYC
TS900RC31S10 | 4 ~ 20 | Smart | ExdIICT6 | TS900R | TSC | 4 ~ 20 | 2-Wire |  |  |  |  | SV-210-1D-LOCK LEVER | AC110V | 3-Way, Lock Lever Type, 램프형 | IP-66 | SV-210D | SYC
YT-1000LSC231S0 | 4 ~ 20 | Conventional | ExdIICT5 | YT-1000L-C | Rotork | - | - |  |  |  |  | SV-210-1D-LOCK LEVER+LAMP |  |  |  | SV-210D | SYC
YT-1000LSM231S0 | 4 ~ 20 | Conventional | ExdIIBT5 | YT-1000L | Rotork | - | - |  |  |  |  | SV-210-2D | AC220V | 3-Way | IP-66 | SV-210D | SYC
YT-1000RSM231S0 |  | Conventional | ExdIIBT5 | YT-1000R | Rotork | [6 empty] | SV-210-2D-LAMP |  |  |  | SV-210D | SYC
YT-1200LS231S0 |  |  |  | YT-1200L | Rotork | [6 empty] | SV-210-2D-LOCK LEVER |  |  |  | SV-210D | SYC
YT-3300LSN1101S |  |  |  | YT-3300L | Rotork | [6 empty] | SV-210-2D-LOCK LEVER+LAMP |  |  |  | SV-210D | SYC
YT-3300LSN1120S |  |  |  | YT-3300L | Rotork | [6 empty] | SV-210-4D-LAMP |  |  |  | SV-210D | SYC
YT-3300LSN1121S |  |  |  | YT-3300L | Rotork | [6 empty] | SV-210-4D-LOCK LEVER | DC24V | 5-Way, Lock Type | IP-66 | SV-210D | SYC
YT-3300RSN2120S |  | Smart-Hart | IP-66 | YT-3300R | Rotork | [6 empty] | SV-210-4D-LOCK LEVER+LAMP |  |  |  | SV-210D | SYC
YT-3303LDN2121S | 4 ~ 20 | Smart-Hart | IP-66 | YT-3303LD | Rotork | 4 ~ 20 | 2-Wire |  |  |  |  | SV-410-1D-LOCK LEVER |  |  |  | SV-410D | SYC
YT-3303LSN2100S | 4 ~ 20 | Smart | IP-66 | YT-3303L | Rotork | 4 ~ 20 | 2-Wire |  |  |  |  | VCEFCMHBX8320G174MO-AC110V | AC110V | 3-Way, Manual Operator | ExdIICT6 | VCEFCMHBX8320G174MO | ASCO
YT-3303LSN2101S | 4 ~ 20 | Smart | IP-66 | YT-3303L | Rotork | - | - |  |  |  |  | VCEFCMHBX8320G174MO-AC220V | AC220V | 3-Way, H-Class, Junction Box, Manual Operator | ExdIICT3 | VCEFCMHBX8320G174MO | ASCO
YT-3303LSN2120S |  | Smart-Hart | IP-66 | YT-3303L | Rotork
YT-3303LSN2121S | 4 ~ 20 | Smart-Hart | IP-66 | YT-3303L | Rotork | 4 ~ 20 | 2-Wire
YT-3400LDC2121S |  | Smart-Hart | ExdIICT6 | YT-3400LD | Rotork
YT-3400LSC2100S |  | Smart | ExdIICT6 | YT-3400L | Rotork
YT-3400LSC2101S | 4 ~ 20 | Smart | ExdIICT6 | YT-3400L | Rotork | 4 ~ 20 | 2-Wire
YT-3400LSC2121S | 4 ~ 20 | Smart-Hart | ExdIICT6 | YT-3400L | Rotork | 4 ~ 20 | 2-Wire
YT-3400RSC2100S |  | Smart | ExdIICT6 | YT-3400R | Rotork

## DS-1
[7 empty] | VALVE DATA SHEET | [11 empty] | Sheet No. |  | 1 OF 1 | 엑셀 매크로 (자동입력)
[7 empty] | Item |  | Pneumatic 2-Way Globe Valve | [12 empty] | ACTUATOR |  |  | ACCESSORY
Project
[7 empty] | Service | [15 empty] | 1. Model No | A-270M |  | POSITIONER | None
[7 empty] | Tag. No. |  | Tag-0001 | [7 empty] | MFG. No. | [5 empty] | ㄴ MFG | PROVAL 고정? |  | ㄴ MFG
[7 empty] | Model No. | [9 empty] | Q'ty (Set) |  | 0 |  |  |  | ㄴ MODEL |  |  | ㄴ MODEL
[23 empty] | ㄴ Type |  |  | ㄴ Type
SERVICE CONDITIONS | 1 | Medium | [8 empty] | ACTUATOR | 46 | Actuator Type | [9 empty] | ㄴ Close/Open At |  |  | ㄴ Enclosure
| 2 |  |  |  | Max. Q |  |  | Nor. Q |  | Min. Q |  | 47 | Model No. | [9 empty] | ㄴ Painting Color |  |  | ㄴ Input Signal
| 3 | Flow Rate | m³/h |  | 0.00000 |  |  | 0.00000 |  | 0.00000 |  | 48 | Close At (bar G) | Open At (bar G) | [8 empty] | ㄴ Painting Type |  |  | ㄴ PTM Output
| 4 | Inlet Pressure | Mpa(g) |  | 0.00000 |  |  | 0.00000 |  | 0.00000 |  | 49 | Fail Position (Signal / Air) | [9 empty] | 2. Handel | Screwed / Top |  | ㄴ PTM Type
| 5 | Outlet Pressure | Mpa(g) |  | 0.00000 |  |  | 0.00000 |  | 0.00000 |  | 50 | Painting Color (RAL No.) | [9 empty] | ㄴ Type / Location |  |  | Solenoid Valve | SPECIAL
| 6 | Differential Pressure | Mpa(g) |  | 0.00000 |  |  | 0.00000 |  | 0.00000 |  | 51 | Painting Type | [9 empty] | ㄴ H.W Painting Color |  |  | ㄴ MFG
| 7 | Inlet Temperature | °C |  | 0.00000 |  |  | 0.00000 |  | 0.00000 | HAND WHEEL | 52 | Type / Location | [9 empty] | ㄴ H.W Painting Type |  |  | ㄴ MODEL
| 8 | Specific Gravity | G | [8 empty] | 53 | Painting Color (RAL No.) | [12 empty] | ㄴ Power
| 9 | Density | kg/m³ |  | 0.00000 |  |  | 0.00000 |  | 0.00000 |  | 54 | Painting Type | [12 empty] | ㄴ Type
| 10 | Molecular Weight | g/mol |  | 0.00000 |  |  | 0.00000 |  | 0.00000 | I / P POSITIONER | 55 | Input Signal (mA DC) | [10 empty] | DA (Open) |  | ㄴ Enclosure
| 11 | Viscosity | cPs | [8 empty] | 56 | Type | [10 empty] | A시리즈 |  | Limit Switch | None
| 12 | Predicted SPL | dB(A) | [8 empty] | 57 | Enclosure | [12 empty] | ㄴ MFG
| 13 | Calculated Cv | [9 empty] | 58 | Model No. | MFG. | [11 empty] | ㄴ MODEL
| 14 | Opening Lift | % | [7 empty] | POSITION TRANSMITTER | 59 | Output (mA DC) | [12 empty] | ㄴ Quantity
| 15 | [10 empty] | 60 | Type | [12 empty] | ㄴ Type
| 16 | [9 empty] | AIR SET | 61 | Supply Setting Pressure (bar G) | [12 empty] | ㄴ Enclosure
LINE | 17 | Shut Off △P | [9 empty] | 62 | Model No. | MFG. | [11 empty] | Air-set | AR-1501PS1
| 18 | Design |  | Pressure | [6 empty] | SOLENOID VALVE | 63 | Power | [12 empty] | ㄴ MFG
| 19 |  |  | Temp. | [7 empty] | 64 | Type | [12 empty] | ㄴ MODEL
| 20 | Inlet Pipe Size (A) |  | Sch. No. | [7 empty] | 65 | Enclosure | [12 empty] | ㄴ Supply Setting Pressure
| 21 | Outlet Pipe Size (A) |  | Sch. No. | [7 empty] | 66 | Model No. | MFG. | [11 empty] | Volume booster
BODY & TRIM | 22 | Body Type |  |  |  | 2-Way Globe |  |  |  |  | LIMIT SWITCH | 67 | Quantity | [12 empty] | ㄴ MODEL
| 23 | Body Size |  | Port Size |  | 3/4" |  |  | SPECIAL |  |  | 68 | Type | [12 empty] | Air Operated Valve
| 24 | Trim Design |  |  |  | Quick-Change | [5 empty] | 69 | Enclosure | [12 empty] | ㄴ MODEL
| 25 | Trim Type |  |  |  | Y-Port | [5 empty] | 70 | Model No. | MFG. | [11 empty] | Lockup valve
| 26 | Trim Seal Ring |  | Guide | [6 empty] | LOCK-UP VALVE | 71 | Setting Pressure (bar G) | [12 empty] | ㄴ MODEL
| 27 | Rating & End Connection |  |  |  | JIS/KS 20K R.F | [5 empty] | 72 | Model No. | [12 empty] | ㄴ Setting Pressure
| 28 | Flange Facing | [8 empty] | SNAP-ACTING RELAY | 73 | Setting Pressure (bar G) | [12 empty] | Snap-acting relay
| 29 | Material |  | Body |  | CF8 (SCS13) | [5 empty] | 74 | Model No. | [12 empty] | ㄴ MODEL
| 30 |  |  | Trim |  | WC6 |  |  |  |  | ACCESSORY | 75 | Air-Operated Valve | [12 empty] | ㄴ Setting Pressure
| 31 |  |  | Stem | [7 empty] | 76 | Mechanical Valve
| 32 |  |  | Packing | [7 empty] | 77 | Check Valve
| 33 | [10 empty] | 78 | Volume Booster
| 34 | Bonnet Type |  |  |  | Standard | [5 empty] | 79 | Exhaust Valve
| 35 | Trim Form |  |  |  | Linear | [5 empty] | 80 | Speed-Controller
| 36 | Max.Allow Sound Level (dBA) | [9 empty] | 81 | Silencer
| 37 | Required Seat Tightness | [8 empty] | MISCELLANEOUS | 82 | Conduit Connection |  | Air Supply
| 38 | Rated Cv | [9 empty] | 83 |  |  | Electrical
| 39 | Stroke | [9 empty] | 84 |  |  | Water Seal
| 40 | Flow Action To | [9 empty] | 85 |  |  | Jacket
| 41 | Painting Color (RAL No.) | [9 empty] | 86 | Jacket Material
| 42 | Painting Type | [9 empty] | 87 | Tubing Material
| 43 | Oil-Free / Water-Free Treatment | [9 empty] | 88 | Sunshade Material
| 44 | [10 empty] | 89
| 45 | [10 empty] | 90
NOTE
No. | Date |  |  | Revision | [11 empty] | Prepared By |  | Checked By |  | Approved By